STEADY — CLINICAL DISPLAY VOCABULARY

Clinician review and sign-off form

Reference STEADY-VOCAB-CLINREV-2026-09-18-01 · clinical-display-vocabulary-v1 · prepared 18 September 2026

# Why you are being asked again

Your sign-off of 22 July 2026 (ref STEADY-CLINREV-2026-07-22-01) attached three conditions. The third reads: “Any material configuration change resets sign-off and requires renewed clinician review.” This form covers 86 clinician-facing terms that did not exist in July. They are a material change, so the July signatures do not extend to them and nothing in the product claims that they do. Until this form is signed, Steady displays these words with a notice saying they carry no clinical approval.

# What you are reviewing

The clinician-facing words shown in place of raw event keys in the audit and activity views of a person's record, and the note beside each one saying what it does and does not mean.

Each term replaces a raw event identifier in the Event column of a person's audit record. The raw identifier is still shown beneath the term — nothing is hidden — and each term carries a note stating what the event does and does not mean. Those notes are part of what you are approving: they are where the clinical boundaries live (opened is not reviewed; recorded is not delivered; proposed is not accepted).

Where these appear: /clinician/member/[id]/audit, /clinician/activity, /review/audit

## What this approval does NOT cover

• The clinical rules the events describe. These are words for things that already happened; no threshold, gate or safety precedence was reviewed or changed.

• The events themselves. Which events are recorded, and what they contain, is unchanged by this approval.

• Any patient-facing wording. Every term here is written for a clinician who can open the evidence underneath it.

• Any authorisation for real-person care, public enrollment, or payer deployment. The release boundary is unchanged.

• Event keys not listed in the document. An unlisted key renders as its raw value and is marked as carrying no approved words.

## What your signature is bound to

Steady records this signature against a cryptographic hash of the exact words below — every key, every term and every note. If a single word changes afterwards, the hash no longer matches and the product reports these words as unapproved again rather than inheriting your signature.

Content hash (SHA-256): 853445054e584581996e897830e24480b2d9d2d30904aeb385bcd84cf56e9508

# Reviewers

| Name | Title | Licence | Jurisdiction |
| --- | --- | --- | --- |
| Rebecca Altschuler, PhD | Licensed Psychologist | Psychologist — AZ PSY-005804 (Active, no board actions) | Arizona (Phoenix) |
| John Allen, PhD | Licensed Psychologist | Psychologist — AZ PSY-002055 (Active, no board actions) | Arizona (Tucson) |

# The words (86)

Mark each term. “Needs change” on any row is enough to withhold overall approval — write the replacement wording in the margin or on the final page.

| Event identifier | Term shown | What it means / does not mean | Verdict |
| --- | --- | --- | --- |
| alert_closed | Safety alert closed | A clinician closed a safety alert with a documented action. | ☐ Agree ☐ Needs change |
| alert_reviewed | Safety alert reviewed | A clinician reviewed a safety alert. Reviewing is not closing. | ☐ Agree ☐ Needs change |
| attention_signal_acknowledged | Attention signal acknowledged | A clinician marked that they had seen this signal. Acknowledging is not reviewing and decides nothing. | ☐ Agree ☐ Needs change |
| attention_signal_state_changed | Attention signal changed state | The signal moved between states under the attention policy. The policy decided this, not a person. | ☐ Agree ☐ Needs change |
| autonomous_rule_signoff | Automated rule signed off | A named reviewer signed off an automated rule. | ☐ Agree ☐ Needs change |
| autopilot_outreach | Automated outreach sent | The product sent a scheduled message. Sending is not reading, and no reply is implied. | ☐ Agree ☐ Needs change |
| between_visit_care_action | Between-visit action recorded | Something done between visits was recorded. | ☐ Agree ☐ Needs change |
| between_visit_care_action_corrected | Between-visit action corrected | A between-visit record was corrected. The original stays readable beside the correction. | ☐ Agree ☐ Needs change |
| care_handoff_proposed | Transfer of accountability proposed | One clinician asked another to take over. The person who proposed it remains accountable until it is accepted. | ☐ Agree ☐ Needs change |
| care_handoff_resolved | Transfer of accountability answered | The proposed transfer was accepted, declined or withdrawn. The detail says which. | ☐ Agree ☐ Needs change |
| care_track_archived | Care path archived | A care path was closed. The record of it stays; only its active status changed. | ☐ Agree ☐ Needs change |
| care_track_selected | Care path selected | A care path was chosen for this person. Paths are optional and the programme runs without one. | ☐ Agree ☐ Needs change |
| checkin_safety_positive | Safety item answered on a check-in | The person answered a safety item in a way the policy treats as requiring a response. It is an obligation to respond, not a conclusion about them. | ☐ Agree ☐ Needs change |
| clinical_memory_item_corrected | Approved memory corrected | An item of approved clinical memory was corrected. The original stays readable beside it. | ☐ Agree ☐ Needs change |
| clinical_override | Clinical override recorded | A clinician overrode an automated decision, with a reason on the record. | ☐ Agree ☐ Needs change |
| clinical_record_corrected | Record corrected | A clinical record was corrected. Both what was believed then and what is believed now keep their answers. | ☐ Agree ☐ Needs change |
| clinical_review_approved | Clinical review approved | A named clinician approved something that required clinical review. The approval covers what was put in front of them, not the surrounding work. | ☐ Agree ☐ Needs change |
| clinical_thread_connection_accepted | Suggested connection accepted | A clinician accepted a suggested connection between records. The suggestion is not evidence; their acceptance is the decision. | ☐ Agree ☐ Needs change |
| clinical_thread_connection_rejected | Suggested connection rejected | A clinician rejected a suggested connection. The suggestion stays on the record with their answer. | ☐ Agree ☐ Needs change |
| clinical_thread_connection_revisited | Connection decision revisited | A clinician returned to a connection they had already answered. | ☐ Agree ☐ Needs change |
| clinical_thread_created | Clinical thread created | A thread was opened to follow one line of clinical thinking. A thread groups thinking; it is not a clinical finding and decides nothing. | ☐ Agree ☐ Needs change |
| clinician_ask_answered | Question answered from the record | An evidence-linked answer was produced from information this clinician is authorised to see. An answer is assistance, not an approved record. | ☐ Agree ☐ Needs change |
| clinician_ask_scope_violation | Question refused: outside permitted scope | An answer was refused because it would have drawn on something this clinician may not see. The refusal is the safe outcome, not an error. | ☐ Agree ☐ Needs change |
| clinician_thought_captured | Working note captured | A working note was captured, by voice or by typing. | ☐ Agree ☐ Needs change |
| clinician_thought_discarded | Working note discarded | A working note was discarded before anything was approved from it. | ☐ Agree ☐ Needs change |
| clinician_thought_items_saved | Note items approved into memory | A clinician reviewed proposed items and approved them as reusable clinical memory. Nothing becomes memory without that review. | ☐ Agree ☐ Needs change |
| clinician_thought_organized | Working note organised | A clinician rearranged their own working note. Nothing clinical changed. | ☐ Agree ☐ Needs change |
| clinician_thought_saved | Working note saved | A working note was saved. Saving is not filing and not signing. | ☐ Agree ☐ Needs change |
| clinician_thought_started | Working note started | A clinician began a working note. Working notes are theirs and are not part of the clinical record until filed. | ☐ Agree ☐ Needs change |
| clinician_thought_written | Working note written | A clinician typed a working note rather than speaking it. Both produce the same kind of note, and neither is part of the clinical record until items are approved from it. | ☐ Agree ☐ Needs change |
| clinician_thoughts_opened | Notes opened | A clinician opened the notes workspace. Opening changes nothing. | ☐ Agree ☐ Needs change |
| clinician_transcript_corrected | Transcript corrected | A clinician corrected a transcription. The original stays readable. | ☐ Agree ☐ Needs change |
| command_context_opened | Person opened from the work queue | A clinician opened this record from Command Center. Opening is not acknowledgement. | ☐ Agree ☐ Needs change |
| companion_daily_chat_opened | Companion opened | The person opened the companion. Opening changes nothing clinical. | ☐ Agree ☐ Needs change |
| companion_memory_deleted | Companion memory deleted | The person deleted what the companion remembered. This is their choice and needs no clinical reason. | ☐ Agree ☐ Needs change |
| companion_message | Companion message | A message passed between the person and the companion. The companion sets no clinical urgency and grants no access. | ☐ Agree ☐ Needs change |
| companion_weekly_capped | Companion weekly limit reached | The person reached the weekly companion limit. It is a usage limit, not a clinical judgement about them. | ☐ Agree ☐ Needs change |
| contact_attempt_recorded | Contact attempt recorded | A clinician recorded that they tried to make contact, and what happened. It is not proof that anything was delivered or received. | ☐ Agree ☐ Needs change |
| demo_patient_created | Fabricated person created | A fabricated person was created for demonstration. Nobody real is involved. | ☐ Agree ☐ Needs change |
| export_created | Export prepared | An export of records was prepared. Preparing is not sending, and nothing left the product because this row exists. | ☐ Agree ☐ Needs change |
| export_download_refused | Export download refused | A download was refused. The refusal is the control working, not an error. | ☐ Agree ☐ Needs change |
| export_downloaded | Export downloaded | A prepared export was downloaded. This is the point at which data left the product; preparing one does not. | ☐ Agree ☐ Needs change |
| export_out_of_scope | Export refused: outside permitted scope | An export was refused because it reached beyond what the requester may see. Nothing was produced. | ☐ Agree ☐ Needs change |
| export_signature_invalid | Export refused: signature did not verify | An export's signature did not verify, so it was refused. Treat the file as untrustworthy rather than merely stale. | ☐ Agree ☐ Needs change |
| gate_safety_item_fired | Safety rule applied | A safety rule restricted what happens next. The rule decided this; nothing on a reading screen can change, clear or add to it. | ☐ Agree ☐ Needs change |
| intervention_confirmed | Intervention confirmed | A clinician confirmed an intervention as recorded. Confirming is standing behind the record of what was done; it is not a statement about what followed it. | ☐ Agree ☐ Needs change |
| intervention_record_opened | Intervention record opened | A clinician opened the intervention record. Opening is not reviewing and changes nothing. | ☐ Agree ☐ Needs change |
| intervention_recorded | Intervention recorded | What was done with this person was written down. Recording is not a claim about what followed it. | ☐ Agree ☐ Needs change |
| intervention_remapped | Intervention reclassified | An intervention was moved to a different classification. Both the original and the correction stay readable. | ☐ Agree ☐ Needs change |
| lesson_read | Lesson read | The person opened a lesson. Reading is not improvement. | ☐ Agree ☐ Needs change |
| login_failed | Sign-in failed | A sign-in attempt failed. It says nothing about who was typing. | ☐ Agree ☐ Needs change |
| login_locked | Sign-in paused after repeated failures | Sign-in was paused for fifteen minutes after ten failures. A paused account is not a disengaged person. | ☐ Agree ☐ Needs change |
| module_override_closed | Module left closed by decision | A clinician declined to open a gated module, with a reason the person can read. | ☐ Agree ☐ Needs change |
| module_override_opened | Module opened by decision | A clinician opened a gated module with a reason the person can read. It relaxes the clinician gate only — the daily check-in, the cooldown, the per-day cap and the kill switch all still apply. | ☐ Agree ☐ Needs change |
| note_draft_assembled | Note draft assembled | Approved items were assembled into a draft to take into the record system. Steady does not sign it — a signature attests to a clinician's own statement. | ☐ Agree ☐ Needs change |
| person_care_opened | Care opened | A clinician opened the care section. Opening changes nothing. | ☐ Agree ☐ Needs change |
| person_course_opened | Course opened | A clinician opened the course landing. Opening changes nothing. | ☐ Agree ☐ Needs change |
| person_record_viewed | Record opened | Somebody opened this person's record. Opening is not treatment and not review; it is the access itself being recorded. | ☐ Agree ☐ Needs change |
| pilot_terms_accepted | Pilot terms accepted | The person accepted a named version of the pilot terms. What may be recorded about them follows the version they accepted, not the current one. | ☐ Agree ☐ Needs change |
| pilot_terms_declined | Pilot terms declined | The person declined the current pilot terms. Declining is a valid answer and is not a clinical event. | ☐ Agree ☐ Needs change |
| post_session_check | Post-session check recorded | What was observed after a session was recorded. Things in the same period are context, and context is not cause. | ☐ Agree ☐ Needs change |
| practice_completed | Practice completed | The person completed a practice. Use is not improvement. | ☐ Agree ☐ Needs change |
| program_plan_generated | Programme draft generated | A draft programme was produced. A draft is a suggestion until a clinician approves it, and generation is not approval. | ☐ Agree ☐ Needs change |
| recovery_trajectory_opened | Trajectory opened | A clinician opened the trajectory screen. Opening changes nothing. | ☐ Agree ☐ Needs change |
| release_gate_signoff_stale | Sign-off out of date | A recorded sign-off no longer matches the evidence it was given against, so it no longer counts as approval. | ☐ Agree ☐ Needs change |
| return_goal_confirmed | Life goal confirmed | A clinician confirmed the goal as written. | ☐ Agree ☐ Needs change |
| return_goal_created | Life goal recorded | A goal was written down in the person's own words. | ☐ Agree ☐ Needs change |
| return_goal_observation_decided | Proposed observation answered | A clinician accepted or rejected a proposed observation. A proposal is not evidence until somebody answers it. | ☐ Agree ☐ Needs change |
| return_goal_observation_recorded | Observation recorded against a goal | Something observed was attached to a goal. The source — the person's report or a clinician's observation — is on the record. | ☐ Agree ☐ Needs change |
| return_goals_opened | Life goals opened | A clinician opened the goals screen. Opening changes nothing. | ☐ Agree ☐ Needs change |
| review_completed | Review completed | A clinician recorded that they reviewed this and what they decided. It records their judgement, not an outcome, and it does not close whatever the work was about. | ☐ Agree ☐ Needs change |
| review_note_status | Review note status changed | The status of a review note changed. It does not change any clinical decision the note describes. | ☐ Agree ☐ Needs change |
| screening_risk_item | Risk item on a scored measure | A risk item on an instrument was answered in a way that requires a response. The instrument's own scale decides this, not a clinician's reading of it. | ☐ Agree ☐ Needs change |
| screening_submitted | Measure completed | The person completed a scored instrument. The score is on its own validated scale and is not combined with any other. | ☐ Agree ☐ Needs change |
| session_hard_stop | Session stopped by a safety rule | A rule stopped a session in progress. The rule decided this; the stop is not a judgement about the person. | ☐ Agree ☐ Needs change |
| session_prepared | Session prepared | A session was set up. Preparation is not a session. | ☐ Agree ☐ Needs change |
| session_spoken_response | Spoken response recorded | A spoken response was recorded during a session. | ☐ Agree ☐ Needs change |
| session_started | Session started | The person began a session. Starting is not completing, and nothing here says how it went. | ☐ Agree ☐ Needs change |
| therapeutic_load_opened | Load and readiness opened | A clinician opened the load screen. Opening changes nothing, and nothing on that screen restricts access. | ☐ Agree ☐ Needs change |
| therapeutic_load_reviewed | Load and readiness reviewed | A clinician recorded their reading of load and readiness. | ☐ Agree ☐ Needs change |
| trajectory_reviewed | Trajectory reading reviewed | A clinician agreed, disagreed or corrected a reading. The original reading stays on the record beside their answer. | ☐ Agree ☐ Needs change |
| trajectory_snapshot_saved | Trajectory reading stored | A reading was stored so it can be reproduced later from the same evidence, cutoff and policy version. It describes recorded observations and forecasts nothing. | ☐ Agree ☐ Needs change |
| trigger_mapped_in_session | Trigger mapped in session | A trigger was mapped during a session. Mapping records a connection the work surfaced; it is not a cause. | ☐ Agree ☐ Needs change |
| trigger_updated | Trigger updated | The person updated what they identified as a trigger, in their own words. It is the person's own account, not a clinician's observation. | ☐ Agree ☐ Needs change |
| unlock_requested | Module request made | The person asked for a gated module to be opened. Asking is not opening; it waits for a clinician's decision and reason. | ☐ Agree ☐ Needs change |
| work_assigned | Work assigned | Ownership of this work was recorded against somebody. Nobody was notified — there is no delivery path in this build. | ☐ Agree ☐ Needs change |

# Overall determination

☐  Approved as written.

☐  Approved with the changes marked above.

☐  Not approved.

Conditions or notes:

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

# Signatures

Rebecca Altschuler, PhD — Psychologist — AZ PSY-005804 (Active, no board actions)

Signature  ____________________________________________________

Date  ____________________________

John Allen, PhD — Psychologist — AZ PSY-002055 (Active, no board actions)

Signature  ____________________________________________________

Date  ____________________________

Return the signed form to the Steady product owner. The signature is recorded in src/lib/governance/clinical-approval.ts against the content hash on page 1, and the stored record at docs/approvals/clinical-display-vocabulary-v1.md is regenerated from it.